## products_export_20240805060102
SQL Table? | Product |  |  |  |  | Family |  |  |  | SubFamily |  |  |  |  | Supplier | [10 empty] | Physical Construction | [25 empty] | Products Group |  |  |  |  | Electrical | [19 empty] | Optics | [63 empty] | LED | [45 empty] | Driver | [51 empty] | Certifications | [60 empty] | Accessories | [9 empty] | Photometry
SQL Field Names | ProductID | ProductCode | ProductName | ProductStatus | DateAdded | FamilyID | FamilyName | FamilyDescription | FamilyShortDescription | SubFamilyID | SubFamilyName | SubFamilyDescription | SubFamilyShortDescription | SubFamilyCollection | SupplierID | SupplierName | SupplierProductCode | SupplierLogo | DisplaySupplierLogo | SupplierFamilyName | SupplierSubFamilyName | SupplierProductURL | ProductGroups | RelatedProducts | HeroImage | PhysicalID | HousingMaterial | OpticMaterial | Weight | PhysicalMiscInfo | FinishColor | FinishType | MountingType | Mounts | Dimensions | Length | Width | Height | CutOutSize | DimensionDiagram | Diameter | FinishIcon | WeightIncludingDriver | Termination | Type of through wiring | Cable gland | Number of cable glands | Blind plugs | Number of blind plugs | Max cable diameter (mm) | Min cable diameter (mm) | ProductGroupID | ProductCategory | ProductSubCategory | MiscellaneousInfo | Collection | ElectricalID | RatedVoltage | Cycles | LCP | AdvertisedWatts | PowerFactor | Current | ConnectionDescription | ElectricalMiscInfo | ElectricalClass | TaMin | TaMax | EMC Category | Leakage current (mA) | Main Feed DC (V) Min | Main Feed DC (V) Max | Number of luminaires on a 10A MCB type B | Number of luminaires on a 10A MCB type C | Number of luminaires on a 16A MCB type B | Number of luminaires on a 16A MCB type C | OpticalID | OpticalDescription | OpticalCategory | BeamSpread | FixtureOutputReal | FixtureOutputAdvertised | DownwardOutputReal | DownwardOutputAdvertised | UpwardOutputReal | UpwardOutputAdvertised | UWLR | Miscellaneous | Finish Type | Finish Colour | PolarCurve | CartesianGraph | LCSGraph | ConeLuxDiagram | LuminousDimensions | Luminous Length (X) | Luminous Width (Y) | Luminous Height (Z) | MaxUGR | DLCMaxUGR | SpacingCriteria | Spacing Criterion (0-180) | Spacing Criterion (90-270) | Spacing Criterion (Diagonal) | LM53 SHR (0-180) | LM53 SHR (90-270) | LM53 SHR Square | TM05 SHR Nom | TM05 SHR Max | LER | Efficacy | IESClassification | LongitudinalClassification | BUGRating | NEMAType | MaxIntensity | MaxIntensityAngleH | MaxIntensityAngleV | Horizontal Beam Angle | Horizontal Beam Angle Split 1 | Horizontal Beam Angle Split 2 | Vertical Beam Angle | Vertical Beam Angle Split 1 | Vertical Beam Angle Split 2 | FieldAngles | Horizontal Field Angle | Vertical Field Angle | L70 | L80 | L90 | TM-21 50,000hr | IESFileID | Light distribution up % | Light distribution down % | MacAdam step | Energy class light source | L70 Median useful life LED Ta25 (hr) | L80 Median useful life LED Ta25 (hr) | L70 Median useful life LED MaxTa (hr) | L80 Median useful life LED MaxTa (hr) | LEDID | PrimaryChipSupplier | SecondaryChipSupplier | ChipSeries | ChipCode | CCT | CRI | COI | SPDR | ChipVoltageRange | ChipForwardVoltageRating | ChipForwardCurrentRating | VersaluxChipReferenceNumber | ArrayForwardVoltageRating | ArrayForwardCurrentRating | VersaluxArrayReferenceNumber | Versalux LED Array Description | ArrayCBValue | ArrayInSituTemperature | ArrayOutput | ChipDimensions | ArrayZhagaType | R9Value | DUV | WhitePointX | WhitePointY | PeakWaveLength | MOverPRatio | SPRatio | LEDMiscInfo | TM30Report | FidelityIndex | GamutIndex | LocalChromaShift | LocalHueShift | LocalColorFidelity | PLevel | VLevel | FLevel | LocalAverages | SDCMOverLife | SDCMInitial | RatedLife | InSituTempOfLEDChip | LEDModuleVf | LumenPercentage50000Hrs | DriverID | VersaluxDriverCode | DriverDescription | DriverSupplier | Control | WattsLoss | ForwardCurrentRating | ForwardVoltageRating | DriverSetting | DriverMiscInfo | InputVoltageRangeMin | InputVoltageRangeMax | AOCIfRangeMin | AOCIfRangeMax | TypeCCurrent | TypeCVoltage | FixedOutput | Compatibility | DALI | DALI 2 | DALI DT8 | Phase Cut | Switch Dim | 1-10V Dim | Casambi | Other Dim | Chrono Dim | DIP SW AOC | Dim Range % | On/Off Corridor Function/Step Dim | D4i Powered | ElectricalProtectionClass | DriverMounting | Driver Weight | DriverIP | TaC_Min | TaC_Max | CLO | VfRangeMin | VfRangeMax | SELVHV | ExtNTC | InrushCurrent | InrushTWidth | Surge | DriverPowerFactor | LeakageCurrent | THDPercentage | PstLM | SVM | NumberOfDrivers | MaxOperatingTemp | CertificateID | IPRating | IKRating | EmergencyRating | Emergency Classification C0 | Emergency Classification C90 | Emergency Classification C180 | Emergency Classification C270 | Type of emergency | Emergency duration in battery mode (hrs) | Charging power consumption (Emg) (W) | Emergency output in battery mode (%) | HazardousRating | CeilingCoveringRating | DriveOverRating | WalkOverRating | SeismicRating | CertificateMiscInfo | Warranty | RCM | OperatingTempMin | OperatingTempMax | ATEX | B0FireResistance | B15FireResistance | Battery | Approvals | BSH Approved | Bureau Veritas | Canadian Standards Association | CAP Approved | CAP437 Approved | DNV Approved | DNV GL Maritime | ENEC | EX | F mark | GL Approved | GOST R Certified | IECEx Certified | IMO | INMETRO Certified | IT40 | LR Approved | N Circle | UL Marine Listed | Dark Sky Certified | MelaGen | LoCal | Red Dot | Good Design Award | Australian Made | AEMO Certified | Wheel Mark | Marine Approved | Ignition Class | Class Ex Gas | Class Ex Dust | Max surface temp Dust | EX zone | IECEx | AccessoryID | AccessoryCode | Accessory Name | AccessoryDescription | AccessoryShortDescription | AccessoryConstruction | AccessoryMiscInfo | AccessorySymbol | AccessoryHeroImage | AccessoryDimensionalDiagram | IESFileID | IESFile | File Type | IESFileName | IESClassification
Visible Field Names | [176 empty] | TM-30 Colour Rendition Preference Rating | TM-30 Colour Rendition Vividness Rating | TM-30 Colour Rendition Fidelity Rating
Sample Data (Versalux) | ? | CBP2.CGDD.4090.2 | Como Black Plus Downlight 3000K White Power Setting 2 |  |  | ? | Como | The Como downlight family offers a wide range of premium downlights to suit all types of applications lighting requirements. Using premium materials and the latest in LED technology, the Como family can be provided in multiple physical sizes, multiple beam spreads, multiple total outputs and all with a high colour rendition. | The Como downlight family offers a wide range of premium downlights to suit all types of applications lighting requirements. | ? | Como Black Plus | COMO BLACK PLUS is a premium range of LED downlights specifically designed for applications where excellent colour accuracy is desired. It delivers extremely high luminous flux maintenance with high efficacy and reduced glare. Featuring a precision designed multi-faceted reflector, COMO BLACK PLUS provides a range of optic options including open reflector, clear glass, frosted glass, vandal-resistant polycarbonate lens + Torx screw fixing, or decorative glass trims. The polycarbonate lens version and the clear & frosted glass lens versions are a splash-proof IP44 from the underside of the luminaire for installation in bathrooms and changing rooms. | COMO BLACK PLUS is a premium range of LED downlights specifically designed for applications where excellent colour accuracy is desired. It delivers extremely high luminous flux maintenance with high efficacy and reduced glare. |  | 0ARCTEC | Architech | 123-456789-123 | ? | No | COMO | COMO BLACK PLUS | NA |  |  | ? | ? | Die-cast aluminium | Polycarbonate | 300g | One-piece housing with itegrated heatsink | Black | Powder-coat | Ceiling recessed | Clamp | Dia. 160MM Height 85MM |  |  |  | 150mm | ? | 160mm | ? | 500g | 6 x6.0mm2 Screw Terminal | 6x2.5 | M25-Nickel plated brass | 2 | M25-Nickel plated brass | 1 | 18 | 10 | ? | Interior | Downlights |  |  | ? | 220-240VAC | 0/50/60Hz | Engineering | 18 | > 0.9 | 350mA | Remote driver with flex & plug | SELV | Class II | -20 °C | +45 °C | EMC2 : EMC A - IEC 60533 General Areas | 0.7 | 180 | 270 | 8 | 13 | 12 | 21 | ? | Batwing | Direct, Batwing | 40 | 2392 | 2390 | 2392 | 2390 | 0 | 0 | 0 | Some words here. Might be a sentence, might be a small paragraph or two. | Anodised aluminium | Silver | ? | ? | ? | ? | -150 | -150 | -100 | 100 | 28 | 22 | 1.5 | 1.12 | 1.12 | 1 | 0.788 | 0.788 | 0.757 | 0.75 | 0.81 | 90 | 103 | Type V | Very Short | B1-U0-G0 | 5Hx5V | 1135.3 | -13.5 | 5 | 49.2 |  |  | 49.2 |  |  | 76.7 | 76.7 | 76.7 | >90000 | 86000 | 48000 | 0.84 | ? | 5 | 95 | 3 | D | 100000 | 100000 | 100000 | 90000 | ? | Nichia Corporation | N/A | R95 Spec. | 2P | 4000 | 90 | 2.7 | ? | 5.8 - 6.6 VDC | 6.3V | 400mA | LCB.00010.4090.01AT | 6.3VDC | 400mA | N/A | LED CIRCULAR 10MM 4K CRI90 |  | 47.20°C | 100lm | 3mm x 3mm |  | -23 | -0.00013 | 0.0025 | 0.03 | 425 | 1.23 | 2.1 | Built-in ESD Protection & RoHS compliant | ? | 88 | 96 |  |  |  | 1 | 2 | 3 |  | 3 | 3 | 90000 | 47.20°C | Engineering | 6.3VDC | ? | DRIVERARCHDALI15-350 | DRIVER LED 15W DALI DIM SPLITTER & PLUG (DEFAULT 350MA) | Architech | DALI | < 0.5W | 100-1050mA | 15-44V | 350mA | Driver LC 20W 100-1050mA 44V o4a NF SR EXC3 | 198VAC 176VDC | 264VAC 270VDC | 100mA | 1050mA | 80A | 600V | No | N/A | Yes | Yes | No | No | No | No | No | N/A | No | No | 1 to 100% | Yes | No | Class II | None | 200g | IP20 | -20 | 50 °C | No | 15VDC | 44VDC | SELV | No | 10A | 80uS | 1kV (L - N) | < 0.90 | < 700uA | < 20% | <= 1 | =< 0.4 | 1 | +50 °C | Vairous fields | IP20 | N/A | No | A160 | A160 | A160 | A160 | Standard battery backup | 3 | 1.5 | 13 | N/A | N/A | NULL | N/A | N/A |  | 5 years | Yes |  |  |  | N/A | N/A | No | none | N/A | N/A | N/A | No | No | No | No | No | no | No | N/A | N/A | No | NO | No | N/A | N/A | N/A | N/A | No | No | N/A | N/A | N/A | N/A | N/A | NO | Yes | T4 135° | Ex eb mb IIC | Ex tb IIIC T | 81 | Ex zone 1, Ex zone 2, Ex zone 21, Ex zone 22 | Yes | ? | ABC-DEFG-123456 | IP65 Mounting Box | IP65 Mounting Box for Driver - supplied with 2m flex but no plugtop. Ideal for ensuring the Como range is completely IP65 for relevant applications. | IP65 Mounting Box for Driver | Metal | ALAV | ? | ? | ? | ? | ? | Eulumdat | ?
Comments | [5 empty] | How will this work in reality? |  |  |  | How will this work in reality? |  |  |  |  | How will this work in reality? | [8 empty] | How will this work? | [11 empty] | This info may be of limited use. In many fixtures there'll be more dimenions needed than just these three will cover - e.g. a Streetlight with a housing dimension set but also info on the fixed/adjustable spigot? | [15 empty] | How will this work in reality? | [27 empty] | 40° | 2392lm | 2390lm | 2392lm | 2390lm | 0lm | 0lm | 0 | [7 empty] | -150mm | -150mm | -100mm | 100mm | [12 empty] | 103lm/W |  |  |  |  | 1135.3cd | -13.5° | 5.0° | 49.2° |  |  | 49.2° |  |  | 76.7° | 76.7° | 76.7° | >90,000hrs | 86,000hrs | 48,000hrs | [15 empty] | 4000K | Ra90 | [16 empty] | -0.00013 |  |  | 425nm | [9 empty] | P1 | V2 | F3 |  |  |  | 90,000hrs | [59 empty] | Classifications will normally at least show a C0 and C90 value, but may also sometimes include C180 and in rare cases could include a C270 value. Common nomenclature might be C0: D50, C90: C40 | [7 empty] | Often there is more than one zone applicable. For example, Zone 1 also intrinsically covers Zone 2, and often Zone 1 fixtures are also Zone 21 (which intrinsically covers Zone 22) | [7 empty] | Remove? | Remove? | [51 empty] | This could be a dropdown of values. Common types would be IESNA, Eulumdat, and CIE
Data Types | VARCHAR(255) | VARCHAR(50) | VARCHAR(255) | Text | VARCHAR(15) | VARCHAR(255) | VARCHAR(255) | TEXT | TEXT | VARCHAR(255) | VARCHAR(50) | TEXT | TEXT | VARCHAR(255) | VARCHAR(255) | VARCHAR(100) | VARCHAR(20) | VARCHAR(255) | BOOLEAN | VARCHAR(50) | VARCHAR(50) | VARCHAR(255) NULL | VARCHAR(255) | VARCHAR(255) | VARCHAR(255) NULL | VARCHAR(255) NULL | VARCHAR(100) | VARCHAR(100) | VARCHAR(10) | VARCHAR(255) | VARCHAR(50) | VARCHAR(50) | VARCHAR(50) | VARCHAR(50) | VARCHAR(150) | DECIMAL(10, 2) NULL | DECIMAL(10, 2) NULL | DECIMAL(10, 2) NULL | VARCHAR(20) | VARCHAR(255) NULL | VARCHAR(20) | VARCHAR(255) NULL | VARCHAR(20) | VARCHAR(255) | VARCHAR(50) | VARCHAR(50) | INT | VARCHAR(50) | INT | INT | INT | VARCHAR(255) | VARCHAR(50) | VARCHAR(50) | VARCHAR(255) | VARCHAR(50) | VARCHAR(255) | VARCHAR(30) | VARCHAR(30) | VARCHAR(255) | INT | VARCHAR(10) | VARCHAR(10) | VARCHAR(255) | VARCHAR(50) | VARCHAR(20) | VARCHAR(10) | VARCHAR(10) | VARCHAR(255) | DECIMAL(3, 1) | INT | INT | INT | INT | INT | INT | VARCHAR(255) | VARCHAR(100) | VARCHAR(255) | VARCHAR(10) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(10) | TEXT | VARCHAR(100) | VARCHAR(50) | VARCHAR(255) | VARCHAR(255) | VARCHAR(255) | VARCHAR(255) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(20) | VARCHAR(255) | VARCHAR(255) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) NULL | VARCHAR(10) NULL | VARCHAR(10) | VARCHAR(10) NULL | VARCHAR(10) NULL | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(10) | VARCHAR(50) | INT | INT | INT | INT | INT | INT | INT | INT | VARCHAR(255) | VARCHAR(100) | VARCHAR(50) NULL | VARCHAR(50) | VARCHAR(10) | VARCHAR(20) | VARCHAR(20) | VARCHAR(10) | VARCHAR(50) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(50) | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) NULL | VARCHAR(100) | VARCHAR(50) NULL | VARCHAR(20) | VARCHAR(20) | VARCHAR(20) | VARCHAR(50) NULL | INT | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(255) | VARCHAR(255) | INT | INT | DECIMAL(7,4) | DECIMAL(7,4) | DECIMAL(7,4) | VARCHAR(5) | VARCHAR(5) | VARCHAR(5) | VARCHAR(255) | TINYINT | TINYINT | VARCHAR(15) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(255) | VARCHAR(50) | VARCHAR(100) | VARCHAR(50) | VARCHAR(20) | VARCHAR(10) | VARCHAR(15) | VARCHAR(15) | VARCHAR(10) | VARCHAR(20) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | BOOLEAN | VARCHAR(20) NULL | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | VARCHAR(20) NULL | BOOLEAN | BOOLEAN | VARCHAR(15) | BOOLEAN | BOOLEAN | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | BOOLEAN | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) | BOOLEAN | VARCHAR(10) | VARCHAR(10) | VARCHAR(20) | VARCHAR(10) | VARCHAR(15) | VARCHAR(10) | VARCHAR(5) | VARCHAR(5) | INT | VARCHAR(10) | VARCHAR(255) | VARCHAR(10) | VARCHAR(5) NULL | BOOLEAN | VARCHAR(10) | VARCHAR(10) | VARCHAR(10) NULL | VARCHAR(10) NULL | VARCHAR(50) | INT | DECIMAL(3, 1) | INT | VARCHAR(50) NULL | VARCHAR(10) NULL | VARCHAR(20) NULL | VARCHAR(10) NULL | VARCHAR(10) NULL | TEXT | VARCHAR(20) | BOOLEAN | INT | INT | VARCHAR(50) | VARCHAR(10) NULL | VARCHAR(10) NULL | BOOLEAN | VARCHAR(50) NULL | VARCHAR(10) NULL | VARCHAR(10) NULL | VARCHAR(10) NULL | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | BOOLEAN | VARCHAR(10) NULL | VARCHAR(10) NULL | BOOLEAN | BOOLEAN | BOOLEAN | VARCHAR(10) NULL | VARCHAR(10) NULL | VARCHAR(10) NULL | VARCHAR(15) NULL | BOOLEAN | BOOLEAN | VARCHAR(10) NULL | VARCHAR(10) NULL | VARCHAR(15) NULL | VARCHAR(15) NULL | VARCHAR(15) NULL | BOOLEAN | BOOLEAN | VARCHAR(20) | VARCHAR(50) | VARCHAR(50) | INT | VARCHAR(255) | BOOLEAN | VARCHAR(255) | VARCHAR(20) | VARCHAR(100) | TEXT | VARCHAR(50) | VARCHAR(20) | VARCHAR(50) | VARCHAR(255) | VARCHAR(255) | VARCHAR(255) | VARCHAR(255) | VARCHAR(255) | VARCHAR(10) | VARCHAR(255) | VARCHAR(255)